Task 1 – Fiji basics

- Open the two images listed in the presentation. To do so, right-click the link on the presentation, go to “Copy Link Location”, then go to Import -> URL in Fiji. Do it for both images here: “01–Photo.tif” and “02-Biological_Image.tif”.

- You should now have two new windows in Fiji with your two images.

- If you end up with an image of a clown, you have not copied the link correctly in step 1!

- With one of the images selected, use the + and – keys to zoom in and out. Alternatively, hold Ctrl and use your mouse wheel.

- While zoomed in, hold Space and click-and-drag in the image to pan around.

- Try hitting enter to bring up the main Fiji window to the foreground. This is very useful when you end up with a lot of windows and need to run a specific command from a menu!

- Go to Window -> Tile. It will arrange windows so that all open images can be seen at the same time.

- The info bar (on the left top of your image window) gives you some important information on your image.

- The status bar (left bottom of your main Fiji window) gives current cursor coordinates and actual pixel values.

- By the information in the info bar, you can see whether your image is calibrated (i.e. whether Fiji knows how big things are in “real” units of measurement). Going to Image -> Properties allows you to see and change the calibration if necessary. Make sure those are correct, all measurements Fiji makes will use that data as a starting point!